Sarah Hayes House Fire

1512 8 ½ Ave SE

Rochester MN

Scope of Work

- Serve Pro has completed demolition of fire damage and had treated the trusses and wood.  House was damaged enough to warrant all sheetrock, flooring, etc. to be removed from the house.

Carpentry

- Build back exterior kitchen wall that was damaged by the fire

- Repair to roof trusses that were damaged in the fire

- Revise layout of closets at Bedroom 1 and 2.

- Revise layout of kitchen space

- Adjust stair to meet code- need 6’6”

- New Steps going outside from patio door down to new concrete patio

- Replace front patio decking.

Finish Carpentry

- New Cabinets

- New Baseboard

- New Trim through out

- New handrail going down stairs

Windows

- Remove and install new windows through out house

- In basement add window wells to basement for Egress

Roofing

- Remove and Replace shingles on house

Insulation

- New insulation in all of roof and walls including basement.

Doors

- New Front Entry Door

- New Rear Entry Door

- New interior doors through out

Garage Door

- Replace Garage Door- Damaged due to Fire

Siding/Soffit/Facia

- New Siding on Front of house- See document “Mock of Exterior House” for front of house.

- Rear of house to get vinyl lap siding

Gutters/Downspouts

- New gutters and down spouts on rear of house

Concrete

- Remove and replace concrete patio at back of house that was damaged in fire.  Would like to have a stamped concrete patio.

Sheetrock/Taping

- New Sheetrock through out house

Painting

- Painting all walls and ceilings

Plumbing

- New bathroom fixtures in all bathrooms

- New sink and faucet in kitchen

- New disposal at kitchen sink

- Replace any plumbing piping required to bring house up to code

- Remove Boiler and fin tube heating in basement

Mechanical

- Remove Air Handling unit in attic space

- Install new A/C outside and new duct work inside for Heating and cooling

- Inspection of Furnace and any recommendations

Electrical

- New wiring as needed- have found in the basement areas where electrical work is substandard from previous owner.

- New lighting in entire house

- Electrical for Radon system??

- New outlets in walls and cabinets