Apache Mall- Nimbus Playhouse

Option 2

Scope of Work

- Provide Architectural Drawings for permitting

- Demolition of walls noted on plan page A-200.03 of the “Nimbus Playhouse option 1”

- Demolition of walls and ACT ceiling in noted space on plan page A-200.03

- New Demising wall to deck- approx. 18’ tall wall as noted on plage page A-200.03

- New demising wall to be fire taped and sanded- No paint

- New sprinkler valve will be required to separate space

- Separate RTU for this space- Design by HVAC

- Extend 4” sanitary line from bathrooms into larger space

- Extend ¾” water line into this space.

- Bag all smoke detectors for demolition as noted on plan page A-200.03

- Temp lighting installed as noted on plan page A-200.03

- Separate electric for two spaces

- Separate sprinkler for two spaces

- Option 2 to include the following:

- Demo approx. 20’ of demising wall to deck to create an opening to adjoining space as noted on plan pages A-000.03 and A-200.03

- Framing, drywall patching, and taping required where wall is opened up.